## Export Summary
This document was exported from Numbers. Each table was converted to an Excel worksheet. All other objects on each Numbers sheet were placed on separate worksheets. Please be aware that formula calculations may differ in Excel.
Numbers Sheet Name | Numbers Table Name | Excel Worksheet Name
Asset Registration
| Table 1 | Asset Registration
Sheet1
| Table 1 | Sheet1
Sheet4
| Table 1 | Sheet4
Sheet2
| Table 1 | Sheet2

## Asset Registration
asset_owning_department | main_operation | region | operation | parent_location | process_function | sub_process_system | asset_or_component_type | asset_class_asset_category | handed_over_asset_or_procured | asset_primary_category | asset_identity | location_description | building | address_line_1 | address_line_2 | address_line_3 | city | state | postal_code | country | tag_number | service_area | location_main_contact | location_asset_maintenance_manager | maintenance_planner | gis_esri_id | latitude | longitude | asset_criticality | cost_center | sub_category_1 | sub_category_2 | brand | model_number | size_capacity_1 | size_capacity_1_unit_measurement | size_capacity_2 | size_capacity_2_unit_measurement | size_capacity_3 | size_capacity_3_unit_measurement | parent_asset_plate_number | asset_plate_number | detailed_description | serial_number | asset_tag_number | purchase_date_installed_handed_over_date | condition_rating | asset_status | maintenance_specification | measurement_type | warranty | actual_warranty_period | warranty_vendor_name | bottom_water_level | closing_torque | dimention | frequency | infrastructure_status | installation | manufacturer | material_type | no_of_channel | opening_torque | pump_head | staging_height | top_water_level | valve_pressure_rating | vehicle_engine_number | vehicle_insurance_auto_windscreen_insured | vehicle_insurance_date_period_to | vehicle_insurance_sum_insured | vehicle_owner_status | vehicle_puspakom_expired_date | vehicle_roadtax_expired_date | vehicle_seating_capacity | brand | communication_protocol | environmental_performance | horse_power | infrastructure_status_reason | insulation | manufacturer_year | model | no_of_phases | outlet_diameter | revolutions_per_minute | supply_location | type | vehicle_chassis_number | vehicle_insurance_vendor | vehicle_insurance_cover_note_number | vehicle_insurance_no_claim_discount | vehicle_insurance_total_premium | vehicle_register_date | vehicle_spad_permit_date_period_to | vehicle_spad_no_license_operator | vehicle_registration_owner | capacity_size | coverage_range | flow_rate | hysteresis | inlet_diameter | legal_name | manufacture_part_number | motor_current | no_of_stage | power_supply_type | source_from | temperature | valve_diameter | vehicle_engine_capacity | vehicle_model | vehicle_insurance_date_period_from | vehicle_insurance_policy_type | vehicle_puspakom_date_inspection | vehicle_roadtax_rate | vehicle_roadtax_renew_date | vehicle_spad_permit_date_period_from | voltage | status
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | CIVIL | Hand Over Asset | RESERVOIR | BR 1 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA | qwe | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | CONCRETE | qwe | qwe | qwe | 5 | MG | 5 | m | qwe | qwe | qwe | STRC-0001761 | BR 1-RESERVOIR-CONCRETE-5-MG-5-M | qwe | qwe | 1986-01-01 | 3 | IN SERVICE | RESERVOIR-MAINT-PROD-90D | BALANCE | N | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe | qwe
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | CIVIL | Hand Over Asset | RESERVOIR | BR 2 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA | asd | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | CONCRETE | asd | asd | asd | 5 | MG | 5 | m | asd | asd | asd | STRC-0001762 | BR 2-RESERVOIR-CONCRETE-5-MG-5-M | asd | asd | 2014-01-01 | 3 | IN SERVICE | RESERVOIR-MAINT-PROD-90D | BALANCE | N | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd | asd
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 1 INLET BUTTERFLY VALVE ACTUATOR B06 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 INLET BUTTERFLY VALVE ACTUATOR B06 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000542 | BR 1 INLET BUTTERFLY VALVE ACTUATOR B06-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770204 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 1 INLET SLUICE VALVE ACTUATOR S04 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 INLET SLUICE VALVE ACTUATOR S04 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ70 | 48 | rpm | 1017 | Nm | 3.21 | kW |  | ACTR-0000543 | BR 1 INLET SLUICE VALVE ACTUATOR S04-ACTUATOR-MOTORISED-ROTORK-IQ70-48-RPM-1017-NM-3.21-KW | MT06770402 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B08 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B08 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ25 | 36 | rpm | 298 | Nm | 0.78 | kW |  | ACTR-0000544 | BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B08-ACTUATOR-MOTORISED-ROTORK-IQ25-36-RPM-298-NM-0.78-KW | MZ28210102 |  | 2005-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 1 OUTLET SLUICE VALVE ACTUATOR S03 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 OUTLET SLUICE VALVE ACTUATOR S03 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ70 | 48 | rpm | 1017 | Nm | 3.21 | kW |  | ACTR-0000545 | BR 1 OUTLET SLUICE VALVE ACTUATOR S03-ACTUATOR-MOTORISED-ROTORK-IQ70-48-RPM-1017-NM-3.21-KW | MT06770403 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B12 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B12 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ12 | 48 | rpm | 68 | Nm | 0.21 | kW |  | ACTR-0000546 | BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B12-ACTUATOR-MOTORISED-ROTORK-IQ12-48-RPM-68-NM-0.21-KW | MZ18470201 |  | 2003-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B16 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B16 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ18 | 24 | rpm | 108 | Nm | 0.21 | kW |  | ACTR-0000547 | BR 1 OUTLET BUTTERFLY VALVE ACTUATOR B16-ACTUATOR-MOTORISED-ROTORK-IQ18-24-RPM-108-NM-0.21-KW | MZ08680101 |  | 2001-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 1 OUTLET SLUICE VALVE ACTUATOR S06 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 OUTLET SLUICE VALVE ACTUATOR S06 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 144 | rpm | 102 | Nm | 0.81 | kW |  | ACTR-0000548 | BR 1 OUTLET SLUICE VALVE ACTUATOR S06-ACTUATOR-MOTORISED-ROTORK-IQ20-144-RPM-102-NM-0.81-KW | MZ13180102 |  | 2002-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 2 INLET BUTTERFLY VALVE ACTUATOR B05 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 INLET BUTTERFLY VALVE ACTUATOR B05 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000549 | BR 2 INLET BUTTERFLY VALVE ACTUATOR B05-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770202 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 2 INLET SLUICE VALVE ACTUATOR S01 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 INLET SLUICE VALVE ACTUATOR S01 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ70 | 48 | rpm | 1017 | Nm | 3.21 | kW |  | ACTR-0000550 | BR 2 INLET SLUICE VALVE ACTUATOR S01-ACTUATOR-MOTORISED-ROTORK-IQ70-48-RPM-1017-NM-3.21-KW | MT06770401 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 2 OUTLET SLUICE VALVE ACTUATOR S02 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 OUTLET SLUICE VALVE ACTUATOR S02 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ70 | 48 | rpm | 1017 | Nm | 3.21 | kW |  | ACTR-0000551 | BR 2 OUTLET SLUICE VALVE ACTUATOR S02-ACTUATOR-MOTORISED-ROTORK-IQ70-48-RPM-1017-NM-3.21-KW | MT06770404 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B11 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B11 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ12 | 48 | rpm | 68 | Nm | 0.21 | kW |  | ACTR-0000552 | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B11-ACTUATOR-MOTORISED-ROTORK-IQ12-48-RPM-68-NM-0.21-KW | MZ18470101 |  | 2003-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B07 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B07 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ25 | 36 | rpm | 298 | Nm | 0.78 | kW |  | ACTR-0000553 | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B07-ACTUATOR-MOTORISED-ROTORK-IQ25-36-RPM-298-NM-0.78-KW | MZ28210101 |  | 2005-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B09 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B09 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ25 | 24 | rpm | 400 | Nm | 0.78 | kW |  | ACTR-0000554 | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B09-ACTUATOR-MOTORISED-ROTORK-IQ25-24-RPM-400-NM-0.78-KW | MZ42620106 |  | 2003-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B14 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B14 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000555 | BR 2 OUTLET BUTTERFLY VALVE ACTUATOR B14-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770302 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR BYPASS OUTLET BUTTERFLY VALVE ACTUATOR B13 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR BYPASS OUTLET BUTTERFLY VALVE ACTUATOR B13 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ18 | 24 | rpm | 108 | Nm | 0.21 | kW |  | ACTR-0000556 | BR BYPASS OUTLET BUTTERFLY VALVE ACTUATOR B13-ACTUATOR-MOTORISED-ROTORK-IQ18-24-RPM-108-NM-0.21-KW | MZ08680201 |  | 2001-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR BYPASS OUTLET LINE 4 & LINE 7 SLUICE VALVE ACTUATOR S05 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR BYPASS OUTLET LINE 4 & LINE 7 SLUICE VALVE ACTUATOR S05 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 144 | rpm | 102 | Nm | 0.81 | kW |  | ACTR-0000557 | BR BYPASS OUTLET LINE 4 & LINE 7 SLUICE VALVE ACTUATOR S05-ACTUATOR-MOTORISED-ROTORK-IQ20-144-RPM-102-NM-0.81-KW | MZ13180101 |  | 2002-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR OUTLET BUKIT DENGKIL BUTTERFLY VALVE ACTUATOR GB02 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR OUTLET BUKIT DENGKIL BUTTERFLY VALVE ACTUATOR GB02 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000558 | BR OUTLET BUKIT DENGKIL BUTTERFLY VALVE ACTUATOR GB02-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770201 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR OUTLET BUKIT DENGKIL BUTTERFLY VALVE ACTUATOR GB01 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR OUTLET BUKIT DENGKIL BUTTERFLY VALVE ACTUATOR GB01 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000559 | BR OUTLET BUKIT DENGKIL BUTTERFLY VALVE ACTUATOR GB01-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770206 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR BYPASS LINE 6 OUTLET BUTTERFLY VALVE ACTUATOR B15 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR BYPASS LINE 6 OUTLET BUTTERFLY VALVE ACTUATOR B15 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000560 | BR BYPASS LINE 6 OUTLET BUTTERFLY VALVE ACTUATOR B15-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770301 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR INLET BUTTERFLY VALVE ACTUATOR B01 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR INLET BUTTERFLY VALVE ACTUATOR B01 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ25 | 36 | rpm | 298 | Nm | 1.04 | kW |  | ACTR-0000561 | BR INLET BUTTERFLY VALVE ACTUATOR B01-ACTUATOR-MOTORISED-ROTORK-IQ25-36-RPM-298-NM-1.04-KW | MT06770101 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR INLET BUTTERFLY VALVE ACTUATOR B02 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR INLET BUTTERFLY VALVE ACTUATOR B02 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ25 | 36 | rpm | 298 | Nm | 1.04 | kW |  | ACTR-0000562 | BR INLET BUTTERFLY VALVE ACTUATOR B02-ACTUATOR-MOTORISED-ROTORK-IQ25-36-RPM-298-NM-1.04-KW | MT06770102 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR INLET BUTTERFLY VALVE ACTUATOR B03 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR INLET BUTTERFLY VALVE ACTUATOR B03 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000563 | BR INLET BUTTERFLY VALVE ACTUATOR B03-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770205 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ACTUATOR | BR INLET BUTTERFLY VALVE ACTUATOR B04 | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR INLET BUTTERFLY VALVE ACTUATOR B04 | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 | MOTORISED |  | ROTORK | IQ20 | 36 | rpm | 203 | Nm | 0.53 | kW |  | ACTR-0000564 | BR INLET BUTTERFLY VALVE ACTUATOR B04-ACTUATOR-MOTORISED-ROTORK-IQ20-36-RPM-203-NM-0.53-KW | MT06770203 |  | 2014-01-01 | 3 | IN SERVICE | ACTUATOR-MAINT-PROD-180D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | COMPONENT | INSTRUMENT | Hand Over Asset | ELECTRONIC LEVEL SENSOR | BR 1 LEVEL SENSOR | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 1 LEVEL SENSOR | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 |  |  | IFM ELECTRONIC |  | 30 | VDC | 20 | Ma | 0.25 | bar | STRC-0001761 | LVSS-0000328 | BR 1 LEVEL SENSOR-ELECTRONIC LEVEL SENSOR-IFM ELECTRONIC-30-VDC-20-MA-0.25-BAR |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | COMPONENT | INSTRUMENT | Hand Over Asset | ELECTRONIC LEVEL SENSOR | BR 2 LEVEL SENSOR | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 2 LEVEL SENSOR | RESERVOIR | LOJI PEMBERSIHAN AIR SG SEMENYIH | LEBUH WADI EHSAN | PRESINT 19 | PUTRAJAYA | WILAYAH PERSEKUTUAN PUTRAJAYA | 62200 | MALAYSIA |  | SOUTH | MOHD NAFIS ISNIN | AHMAD ZUL-HILME BIN RAMLI | MOHD AFZAN AFFIQ BIN DAUT | WTPSE01 | 2.9019 | 101.6881 | 40 | 101.3440.2081.000.000.000 |  |  | IFM ELECTRONIC |  | 30 | VDC | 20 | Ma | 0.25 | bar | STRC-0001762 | LVSS-0000329 | BR 2 LEVEL SENSOR-ELECTRONIC LEVEL SENSOR-IFM ELECTRONIC-30-VDC-20-MA-0.25-BAR |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | INSTRUMENT | Hand Over Asset | INSTRUMENTATION PANEL | BR INSTRUMENT PANEL | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR INSTRUMENT PANEL | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | [11 empty] | PNEL-0001031 | BR INSTRUMENT PANEL-INSTRUMENTATION PANEL |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | SUNGAI SEMENYIH WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | ELECTRICAL | Hand Over Asset | ELECTRICAL PANEL | BR 415V SUBSWITCHBOARD 100A | SUNGAI SEMENYIH WATER TREATMENT PLANT-BR 415V SUBSWITCHBOARD 100A | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | SUBSWITCHBOARD | [10 empty] | CPNL-0002187 | BR 415V SUBSWITCHBOARD 100A-ELECTRICAL PANEL-SUBSWITCHBOARD |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI OLD WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | CIVIL | Hand Over Asset | RESERVOIR | BR 1 (1MG) | BUKIT TAMPOI OLD WATER TREATMENT PLANT-BR 1 (1MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | CONCRETE |  |  |  | 1 | MG | NOT APPLICABLE |  |  |  |  | STRC-0001763 | BR 1 (1MG)-RESERVOIR-CONCRETE-1-MG |  |  | 1936-01-01 | 3 | IN SERVICE | RESERVOIR-MAINT-PROD-90D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI OLD WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | MECHANICAL | Hand Over Asset | SLUICE VALVE | OUTLET VALVE 1 (1MG) | BUKIT TAMPOI OLD WATER TREATMENT PLANT-OUTLET VALVE 1 (1MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | VALVE |  |  |  | 450 | mm | NOT APPLICABLE |  |  |  |  | SLUV-0009737 | OUTLET VALVE 1 (1MG)-SLUICE VALVE-VALVE-450-MM |  |  | 2008-02-03 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI OLD WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | MECHANICAL | Hand Over Asset | VALVE | OUTLET VALVE 2 (1MG) | BUKIT TAMPOI OLD WATER TREATMENT PLANT-OUTLET VALVE 2 (1MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | SLUICE VALVE |  |  |  | 450 | mm | [5 empty] | SLUV-0009720 | OUTLET VALVE 2 (1MG)-SLUICE VALVE-SLUICE VALVE-450-MM |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI OLD WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | MECHANICAL | Hand Over Asset | VALVE | OUTLET VALVE 3 (1MG) | BUKIT TAMPOI OLD WATER TREATMENT PLANT-OUTLET VALVE 3 (1MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | SLUICE VALVE |  |  |  | 450 | mm | [5 empty] | SLUV-0009721 | OUTLET VALVE 3 (1MG)-SLUICE VALVE-SLUICE VALVE-450-MM |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI OLD WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | MECHANICAL | Hand Over Asset | VALVE | OUTLET VALVE 4 (1MG) | BUKIT TAMPOI OLD WATER TREATMENT PLANT-OUTLET VALVE 4 (1MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | SLUICE VALVE |  |  |  | 300 | mm | [5 empty] | SLUV-0009722 | OUTLET VALVE 4 (1MG)-SLUICE VALVE-SLUICE VALVE-300-MM |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI OLD WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | MECHANICAL | Hand Over Asset | VALVE | INLET VALVE 1 (1MG) | BUKIT TAMPOI OLD WATER TREATMENT PLANT-INLET VALVE 1 (1MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | SLUICE VALVE |  |  |  | 600 | mm | [5 empty] | SLUV-0009723 | INLET VALVE 1 (1MG)-SLUICE VALVE-SLUICE VALVE-600-MM |  |  | 2008-02-03 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI OLD WATER TREATMENT PLANT | BUILDING | RESERVOIR | COMPONENT | INSTRUMENT | Hand Over Asset | ULTRASONIC LEVEL SENSOR | ULTRASONIC LEVEL SENSOR (1MG) | BUKIT TAMPOI OLD WATER TREATMENT PLANT-ULTRASONIC LEVEL SENSOR (1MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | ULTRASONIC |  | ENDRESS + HAUSSER | PROSONIC S FDU91-RG2AA | 4 | bar | 58 | psi |  |  | STRC-0001763 | LVSS-0000330 | ULTRASONIC LEVEL SENSOR (1MG)-ULTRASONIC LEVEL SENSOR-ULTRASONIC-ENDRESS + HAUSSER -PROSONIC S FDU91-RG2AA-4-BAR-58-PSI | 95024D010E8 |  | 2008-02-03 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI NEW WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | CIVIL | Hand Over Asset | RESERVOIR | BR 2 (2MG) | BUKIT TAMPOI NEW WATER TREATMENT PLANT-BR 2 (2MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | CONCRETE |  |  |  | 2 | MG | [5 empty] | STRC-0001764 | BR 2 (2MG)-RESERVOIR-CONCRETE-2-MG |  |  | 1936-01-01 | 3 | IN SERVICE | RESERVOIR-MAINT-PROD-90D |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI NEW WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | MECHANICAL | Hand Over Asset | VALVE | SCOUR VALVE (2MG) | BUKIT TAMPOI NEW WATER TREATMENT PLANT-SCOUR VALVE (2MG) | RESERVOIR | BUKIT TAMPOI WATER TREATMENT PLANT |  |  | DENGKIL | SELANGOR | 43800 | MALAYSIA |  | SOUTH | MOHD LAZIM BIN SIDI AHMAD | AHMAD ZUL-HILME BIN RAMLI | MUHAMMAD TAUFIQ BIN MOHD HANAFIAH | WTPKT01 | 2.8443 | 101.6761 | 40 | 101.3440.2011.000.000.000 | SLUICE VALVE | [10 empty] | SLUV-0009724 | SCOUR VALVE (2MG)-SLUICE VALVE-SLUICE VALVE |  |  | 2008-02-03 | 3 | IN SERVICE |  |  | N
PRODUCTION SOUTHERN | PRODUCTION | SOUTH | WATER TREATMENT PLANT | BUKIT TAMPOI NEW WATER TREATMENT PLANT | BUILDING | RESERVOIR | ASSET | MECHANICAL | Hand Over Asset | VALVE | SCOUR BYPASS VALVE (2MG) | BUKIT TAMPOI NEW WATER TREATMENT PLANT-SCOUR BYPASS VALVE (2MG) | [18 empty] | SLUICE VALVE | [10 empty] | SLUV-0009725 | SCOUR BYPASS VALVE (2MG)-SLUICE VALVE-SLUICE VALVE |  |  | 2014-01-01 | 3 | IN SERVICE |  |  | N

## Sheet1
Asset Owning Department | Level 1 | Level 2 | Level 3 | Level 4 | Level 5 | Level 6 | Asset Primary Category | Asset Identity | Sub Category 1 | Sub Category 2 | Asset Or Componant | Category | Handover /Precured | Brand | Model Number | Size/Capacity 1 | Size/Capacity 1 Measurement | Size/Capacity 2 | Size/Capacity 1 Measurement | Size/Capacity 2 | Size/Capacity 1 Measurement | Parent Asset/Plate Number | Asset/Plate Number | Serial Number | Vendor Part No | SCADA ID | External ID | Asset Tag Number | Pallet Number | Purchase Date/Installed/Handed Over Date | Condition Rating | Status | Maintenance Specification | Bill Of Material | Measurement Type | Warranty | Actual Warranty Period | Warranty Vendor Name | Purchase Order Vendor Name | Purchase Cost

## Sheet4
CUSTOMER BILLING SERVICES | CUSTOMER BILLING SERVICES | KUALA SELANGOR | NRW-DISTRICT METERING ZONE | TANK | Civil | Hand Over Asset | SAMPLING-STATION-INSPEC-730D | AMR-FLOWMETER | Y
DISTRIBUTION | DISTRIBUTION | KUALA LUMPUR | NRW-TRANSMISSION NETWORK | RESERVOIR | Electrical | Procured | BFLY-VALVE-PH-PERIODIC-INSPC | BALANCE | N
ENGINEERING SERVICES - DISTRIBUTION | GENERAL ADMIN | HULU LANGAT | NRW-WATER BALANCING AREA | PUMP HOUSE | Instruments |  | CHECK-VALVE-PH-PERIODIC-INSPEC | CLOCK
FLEET | PRODUCTION | SABAK BERNAM | PUMP HOUSE | DAM CREST | Lab Equipments |  | AMR-MAINTENANCE-180D-G-KS-HS-S | COUNTMETER
LAND | SCADA | PETALING | RESERVOIR | CHAMBER | Mechanical |  | ONLINE-ANALYZER-INSP-14D | DL-BATTERY-LEVEL
NRW | WATER QUALITY | KUALA LANGAT | VALVE-DISTRIBUTION MAIN | BUILDING | Water Reticulation Component |  | SLUICE-VALVE-PH-PERIODIC-INSPC | DL-FLOW-GAUGE
PRODUCTION NORTHERN | FLEET | HULU SELANGOR | VALVE-TRUNK MAIN | BALANCING RESERVOIR | Vehicles |  | GATE-VALVE-PH-PERIODIC-INSPEC | DL-PRESSURE-GAUGE
PRODUCTION SOUTHERN |  | SEPANG | WATER TREATMENT PLANT | VENTILATION FAN | Not Applicable |  | CHAMBER-MAINTENANCE-WBA-365D | DL-STRENGTH-INDICATOR
SCADA |  | GOMBAK | WQ-ONLINE ANALYZER | VACUUM CIRCUIT BREAKER |  |  | CABINET-MAINTENANCE-WBA-365D | EM-FLOWMETER
WATER QUALITY |  | KLANG | WQ-RIVER MONITORING STATION | UNINTERRUPTIBLE POWER SUPPLY |  |  | PRV-MAINTENANCE-WBA-365D | FLOWMETER
|  | NORTH | WQ-SAMPLING STATION | TRANSFORMER |  |  | STRAINER-MAINTENANCE-WBA-365D | FLOWMETER-SC
|  | SOUTH | WQ-LABORATORY SERVICES | SOLAR CHARGE CONTROLLER |  |  | ACTUATOR-PH-INSPECTION | HOUR-RUNMETER
|  | HEADQUARTERS |  | ELECTRICAL PANEL |  |  | CHAMBER-MAINTENANCE-DMZ-120D | INFRARED-THERMOMETER
|  |  |  | CONTROL PANEL |  |  | CABINET-MAINTENANCE-DMZ-120D | LEVEL-ELECTRODE
|  |  |  | MOTOR-SQUIRREL CAGE |  |  | AIR-COMP-PH-PERIODIC-INSPEC | LEVEL-INDICATOR
|  |  |  | MOTOR-SLIP RING |  |  | CHAIN-BLOCK-PH-PERIODIC-INSPEC | LEVEL-SENSOR
|  |  |  | LOAD CELL |  |  | AIR-BLOWER-MAINT-PROD-120D | LOAD-CELL
|  |  |  | LIGHTING |  |  | PRV-MAINTENANCE-DMZ-120D | ODOMETER
|  |  |  | HEAT EXCHANGER |  |  | APV-MAINTENANCE-DMZ-120D | ODOMETER-MILAGE
|  |  |  | GENERATOR SET |  |  | BUTV-MAINT-PROD-365D | pH-METER
|  |  |  | GEAR BOX |  |  | DUST-COLLECTOR-MAINT-PROD-180D | PRESSURE-GAUGE
|  |  |  | EXHAUST FAN |  |  | FEEDER-MAINT-PROD-60D | PRESSURE-SENSOR
|  |  |  | EJECTOR |  |  | FLOCCULATOR-MAINT-PROD-180D | PRESSURE-TRANSMITTER
|  |  |  | EARTHING SYSTEM |  |  | SCADA-PANEL-180D-G-KS-HS-SB | RTU-PRESSURE
|  |  |  | DECANTER |  |  | SCADA-PANEL-180D-P-KL | RUN-HOURS
|  |  |  | CAPACITOR BANK |  |  | SCADA-PANEL-180D-KL-K-S-HL | RUNNING-HOURS
|  |  |  | BATTERY CHARGER |  |  | AMR-MAINTENANCE-180D-P-KL | SIGNAL-SENSOR
|  |  |  | AMR FLOWMETER |  |  | AMR-MAINTENANCE-180-KL-K-S-HL | SIGNAL-STRENGTH
|  |  |  | ALTERNATOR |  |  | CABINET-SCADA-365D-P-KL | SOUNDWAVE
|  |  |  | ALARM SYSTEM |  |  | CABINET-SCADA-365D-G-KS-HS-SB | SPECTOPHOTOMETER
|  |  |  | AIR CIRCUIT BREAKER |  |  | CABINET-SCADA-365D-KL-K-S-HL | TACHOMETER
|  |  |  | WEIGHING SCALE |  |  | SRL-DRB200-REACTOR | TEMPERATURE-SENSOR
|  |  |  | VACUUM REGULATOR |  |  | NRL-DRB200-REACTOR | THERMOGRAPHIC-CAMERA
|  |  |  | ULTRASONIC LEVEL TRANSMITTER |  |  | SRL-JAR-TEST | THERMOGRAPHY-SCANNER
|  |  |  | ULTRASONIC FLOWMETER |  |  | NRL-JAR-TEST | TRANSMITTER
|  |  |  | ULTRASONIC PRESSURE TRANSMITTER |  |  | SRL-PH-METER | TURBIDIMETER
|  |  |  | TABLET |  |  | NRL-PH-METER | TURBIDITY-METER
|  |  |  | SOLAR PANEL |  |  | SRL-PHOTO-SPECTRO | ULTRASONIC-LEVEL-TRANSMITTER
|  |  |  | SERVER |  |  | NRL-PHOTO-SPECTRO | VOLTAGE-SENSOR
|  |  |  | SENSOR-ONLINE ANALYZER |  |  | SRL-TURBIDIMETER-QUARTERLY | VOLTMETER
|  |  |  | SCADA PANEL |  |  | SRL-TURBIDIMETER-YEARLY | YATESMETER
|  |  |  | SAMPLING STATION |  |  | NRL-TURBIDIMETER
|  |  |  | REMOTE TELEMETRY UNIT |  |  | SRL-VACUUM-PUMP
|  |  |  | RECORDER |  |  | NRL-VACUUM-PUMP
|  |  |  | PRESSURE CHECK UNIT |  |  | SRL-DISTILLATOR
|  |  |  | POWER SUPPLY MODULE |  |  | SRL-INCUBATOR
|  |  |  | PH METER |  |  | NRL-INCUBATOR
|  |  |  | INSTRUMENTATION PANEL |  |  | SRL-Q-TRAY
|  |  |  | HUMAN MACHINE INTERFACE-PANEL |  |  | NRL-Q-TRAY
|  |  |  | ONLINE ANALYZER |  |  | NRL-DEIONISED-WATER-SYSTEM
|  |  |  | MODEM |  |  | SRL-DEIONISED-WATER-SYSTEM
|  |  |  | MECHANICAL FLOWMETER |  |  | NRL-UPWS
|  |  |  | MECHANICAL LEVEL INDICATOR |  |  | NRL-MAGNETIC-STIRRER
|  |  |  | ULTRASONIC LEVEL SENSOR |  |  | SRL-MAGNETIC-STIRRER
|  |  |  | LEVEL ELECTRODE |  |  | NRL-HOTPLATE
|  |  |  | LEAK DETECTOR |  |  | SRL-HOTPLATE
|  |  |  | LAPTOP |  |  | NRL-LAB-OVEN
|  |  |  | DESKTOP COMPUTER |  |  | SRL-LAB-OVEN
|  |  |  | INVERTER |  |  | NRL-TITRATOR
|  |  |  | HYDROPHONE |  |  | SRL-TITRATOR
|  |  |  | GPS EQUIPMENT |  |  | SRL-WEIGHT-CALIBRATION-KIT
|  |  |  | ELECTROMAGNETIC (EM) FLOWMETER |  |  | NRL-MICROSCOPE
|  |  |  | ELECTRONIC PRESSURE TRANSMITTER |  |  | SRL-MICROSCOPE
|  |  |  | ELECTRONIC LEVEL SENSOR |  |  | NRL-WATERBATH
|  |  |  | DIGITAL OUTPUT MODULE |  |  | SRL-WATERBATH
|  |  |  | DIGITAL INPUT OR OUTPUT MODULE |  |  | NRL-TOC
|  |  |  | DIGITAL INPUT MODULE |  |  | SRL-TOC
|  |  |  | DIGITAL INDICATOR |  |  | NRL-MOISTURE-ANALYZER
|  |  |  | DIFFERENTIAL PRESSURE TRANSMITTER |  |  | SRL-MOISTURE-ANALYZER
|  |  |  | DATA LOGGER |  |  | NRL-UV-LAMPS
|  |  |  | SURVEILLANCE CAMERA |  |  | NRL-LAB-CABINET
|  |  |  | CAMERA |  |  | SRL-LAB-CABINET
|  |  |  | CABINET |  |  | NRL-ION-CHROMATOGRAPHY
|  |  |  | ANALOG OUTPUT MODULE |  |  | SRL-ION-CHROMATOGRAPHY
|  |  |  | ANALOG INPUT MODULE |  |  | SLUICE-VALVE-DIST-INSP-90D
|  |  |  | WEIGHT CALIBRATION KIT |  |  | SCOUR-VALVE-DIST-INSP-90D
|  |  |  | WATERBATH |  |  | GATE-VALVE-DIST-INSP-90D
|  |  |  | VORTEX MIXER |  |  | BUTTERFLY-VALVE-DIST-INSP-90D
|  |  |  | VISCOMETER |  |  | ALTITUDE-VALVE-DIST-INSP-90D
|  |  |  | ULTRA PURE WATER SYSTEM |  |  | DRUM-VALVE-DIST-INSP-90D
|  |  |  | ULTRAVIOLATE LAMPS |  |  | BALL-VALVE-DIST-INSP-90D
|  |  |  | TURBIDIMETER |  |  | MODUL-VALVE-DIST-INSP-90D
|  |  |  | TOTAL ORGANIC CARBON (TOC) |  |  | PR-VALVE-DIST-INSP-90D
|  |  |  | TITRATOR |  |  | CHECK-VALVE-DIST-INSP-90D
|  |  |  | THERMOMETER |  |  | CONST-FLOW-VALVE-DIST-INSP-90D
|  |  |  | TACHOMETER |  |  | AIR-VALVE-DIST-INSP-90D
|  |  |  | SIEVE |  |  | CAPACITOR-BANK-MAINT-PROD-90D
|  |  |  | QUANTI TRAY SEALER |  |  | LEAK-DETECTOR-MAINT-PROD-180D
|  |  |  | PHOTOMETER AND SPECTROMETER |  |  | PANEL-ELECT-MAINT-PROD-180D
|  |  |  | NITROGEN EVAPORATOR |  |  | PUMP-CENT-SPLT-MAINT-PROD-90D
|  |  |  | NESSLERISER |  |  | PUMP-SUBMERS-MAINT-PROD-180D
|  |  |  | MULTIPARAMETER |  |  | SURGE-VESSEL-MAINT-PROD-90D
|  |  |  | MOISTURE ANALYZER |  |  | ACTUATOR-MAINT-PROD-30D
|  |  |  | MICROSCOPE |  |  | ACTUATOR-MAINT-PROD-365D
|  |  |  | MICROPIPETTE |  |  | ACTUATOR-MAINT-PROD-90D
|  |  |  | MICROFILL |  |  | AIR-BLOWER-MAINT-PROD-60D
|  |  |  | MAGNETIC STIRRER |  |  | GATE-VALVE-MAINT-PROD-365D
|  |  |  | LABORATORY OVEN |  |  | INJECTOR-MAINT-PROD-30D
|  |  |  | LABORATORY HEATER |  |  | LOAD-CELL-MAINT-PROD-365D
|  |  |  | LABORATORY CHILLER |  |  | MECH-LEVEL-IND-MAINT-PROD-180D
|  |  |  | LABORATORY CABINET |  |  | MOTOR-SQR-CAGE-MAINT-PROD-60D
|  |  |  | LAB BALANCE |  |  | PANEL-INSTRU-MAINT-PROD-365D
|  |  |  | JAR TEST |  |  | PENSTOCK-MAINT-PROD-365D
|  |  |  | ION CHROMATOGRAPHY |  |  | PRES-CHECK-UT-MAINT-PROD-30D
|  |  |  | INCUBATOR |  |  | PRES-RElF-VALVE-MAINT-PROD-30D
|  |  |  | INDUCTIVELY COUPLE PLASMA-MASS SPECTROMETRY |  |  | PROG-LOG-CNTRL-MAINT-PROD-365D
|  |  |  | HYDROMETER |  |  | PUMP-CNTF-MLTI-MAINT-PROD-90D
|  |  |  | HOTPLATE |  |  | PUMP-CENT-SPLT-MAINT-PROD-60D
|  |  |  | HEATING REACTOR |  |  | PUMP-CENT-SPLT-MAINT-PROD-120D
|  |  |  | GAS CHROMATOGRAPHY-MASS SPECTROMETRY |  |  | PUMP-END-SUCT-MAINT-PROD-365D
|  | Asset |  | FUME CUPBOARD |  |  | PUMP-END-SUCT-MAINT-PROD-180D
|  | Componant |  | FREEZER |  |  | PUMP-PROG-CAV-MAINT-PROD-90D
|  |  |  | DISTILLATOR |  |  | SCRUBBER-MAINT-PROD-30D
|  |  |  | DISSOLVED OXYGEN METER |  |  | SERVER-MAINT-PROD-180D
|  |  |  | DISPENSETTE |  |  | VACUUM-REGUL-MAINT-PROD-30D
|  |  |  | DESICCATOR |  |  | STRAINER-MAINTENANCE-DMZ-120D
|  |  |  | DEPTH SAMPLER |  |  | SUCTION-PUMP-PH-PERIODIC-INSP
|  |  |  | DEIONISED WATER SYSTEM |  |  | SPLIT-CET-PUMP-PH-PERIODIC-INS
|  |  |  | CONDUCTIVITY METER |  |  | MULTI-CET-PUMP-PH-PERIODIC-INS
|  |  |  | COLORIMETER |  |  | SUBM-PUMP-PH-PERIODIC-INSP
|  |  |  | BIOLOGICAL OXYGEN DEMAND APPARATUS |  |  | MOT-SLIP-RING-PH-PERIODIC-INSP
|  |  |  | AUTOCLAVE |  |  | MOT-SQ-CAGE-PH-PERIODIC-INSP
|  |  |  | AUTO TITRATOR WITH AUTO SAMPLER |  |  | SURGE-VESSEL-PH-PERIODIC-INSP
|  |  |  | VIBRATOR |  |  | TRANSFORMER-PH-PERIODIC-INSP
|  |  |  | THICKENER |  |  | STRAINER-PH-PERIODIC-INSP
|  |  |  | SURGE VESSEL |  |  | LOGGER-MS
|  |  |  | SURGE ANTICIPATING VALVE |  |  | CABINET-MAINTENANCE-PT-120D
|  |  |  | SURGE ANTICIPATING RELIEF VALVE |  |  | COLORIMETER-INSPECTION-365D
|  |  |  | STROKE CONTROLLER |  |  | SOLARPANEL-MAINT-NRW-120D
|  |  |  | STRAINER FILTER |  |  | RTU-MAINTENANCE-NRW-120D
|  |  |  | STRAINER VALVE |  |  | COLORIMETER-INSPECTION-91D
|  |  |  | STOPPER |  |  | LAB-BALANCE-INSPECTION-365D
|  |  |  | STATIC SCREEN |  |  | LAB-BALANCE-INSPECTION-91D
|  |  |  | SPRAY NOZZLE |  |  | LAB-BALANCE-INSPECTION-730D
|  |  |  | SOLENOID VALVE |  |  | LAB-CHILLER-INSPECTION-365D
|  |  |  | SLUICE VALVE |  |  | LAB-CHILLER-INSPECTION-91D
|  |  |  | SLUICE KNIFE VALVE |  |  | RESERVOIR-REINFORCED-CONCRETE
|  |  |  | SLACKER |  |  | REACTOR-LAB-INSP-365D
|  |  |  | SIPHON FILTER |  |  | PUMP-VACCUM-LAB-INSP-365D
|  |  |  | SILO |  |  | MFV-AMR
|  |  |  | SCRUBBER |  |  | NFV-AMR
|  |  |  | SCRAPPER |  |  | PM-RESERVOIR-MAINTENANCE
|  |  |  | SCOUR VALVE |  |  | ACTUATOR-DIST-INSP-90D
|  |  |  | SAND FILTER |  |  | HYDROPHONE-MAINT-NRW-120D
|  |  |  | ROTAMETER |  |  | PRESS-TRANS-MAINT-NRW-120D
|  |  |  | RIVER GATE |  |  | MECH-LEVEL-INDI-DIST-INSP-90D
|  |  |  | PUMP-VACCUM |  |  | AMR-FLOWMETER-MAINTENANCE-180D
|  |  |  | PUMP-SUBMERSIBLE |  |  | AMR-FLOWMETER
|  |  |  | PUMP-PROGRESSIVE CAVITY |  |  | PM-RAW-WATER-PUMPING-SYSTEM
|  |  |  | PUMP-PRESSURE |  |  | SB-RESERVOIR-REINFORCE CONCRET
|  |  |  | PUMP-PNEUMATIC |  |  | HS-RESERVOIR REINFORCE CONCRET
|  |  |  | PUMP-METERING |  |  | HL-RESERVOIR REINFORCE CONCRET
|  |  |  | PUMP MAGNETIC DRIVE |  |  | KS-RESERVOIR REINFORCE CONCRET
|  |  |  | PUMP-END SUCTION |  |  | KT-RESERVOIR REINFORCE CONCRET
|  |  |  | PUMP-DRY PIT |  |  | KG-RESERVOIR REINFORCE CONCRET
|  |  |  | PUMP-CENTRIFUGAL-SPLIT CASING |  |  | PG-RESERVOIR REINFORCE CONCRET
|  |  |  | PUMP-CENTRIFUGAL-SELF-PRIMING |  |  | HV-BACKHOE-SERVICE-TYPE-ABC
|  |  |  | PUMP-CENTRIFUGAL-MULTISTAGE |  |  | HV-BUS-SERVICE-TYPE-ABC
|  |  |  | PROGRAMMABLE LOGIC CONTROL |  |  | HV-CARGOLORRY-SERVICE-TYPE-ABC
|  |  |  | PRESSURE SWITCH |  |  | HV-LOADER-SERVICE-TYPE-ABC
|  |  |  | PRESSURE RELIEF VALVE |  |  | HV-PRIMEMOVER-SERVICE-TYPE-ABC
|  |  |  | PRESSURE REDUCING VALVE |  |  | HV-TANKERLORRY-SERVICE-TYPEABC
|  |  |  | PRESSURE GAUGE |  |  | HV-TIPPER-SERVICE-TYPE-ABC
|  |  |  | PRESSURE CONTROLLER |  |  | HV-TRAILJUMBO-SERVICE-TYPE-ABC
|  |  |  | PNEUMATIC VALVE |  |  | HV-TRAILERMACH-SERVICE-TYPEABC
|  |  |  | PENSTOCK |  |  | IV-FORKLIFT-SERVICE-TYPE-ABC
|  |  |  | PASSENGER HOIST |  |  | IV-COMPACTOR-SERVICE-TYPE-ABC
|  |  |  | OIL TRAP |  |  | IV-TRACTOR-SERVICE-TYPE-ABC
|  |  |  | MODULATION VALVE |  |  | LV-CAR-SERVICE-TYPE-ABC
|  |  |  | MIXER |  |  | LV-MPV-SERVICE-TYPE-ABC
|  |  |  | MEMBRANE FILTER |  |  | LV-PANEL-VAN-SERVICE-TYPE-ABC
|  |  |  | MECHANICAL SCREEN |  |  | LV-PICKUP-SERVICE-TYPE-ABC
|  |  |  | LOW PRESSURE PILOT |  |  | LV-SCHOOL-VAN-SERVICE-TYPE-ABC
|  |  |  | INSERTION FLOWMETER |  |  | LV-SUV-SERVICE-TYPE-ABC
|  |  |  | INJECTOR |  |  | LV-VAN-SERVICE-TYPE-ABC
|  |  |  | HYDROPNEUMATIC TANK |  |  | MC-MOTORCYCLE-SERVICE-TYPE-ABC
|  |  |  | HOPPER |  |  | WV-BOAT-SERVICE-TYPE-ABC
|  |  |  | GLOBE VALVE |  |  | RMS-MAINTENANCE
|  |  |  | GATE VALVE |  |  | AUTOCLAVE-365D-CALIB-450D-SER
|  |  |  | FOOT VALVE |  |  | AUTOCLAVE-LAB-INSP-365-450D
|  |  |  | FLOW CONTROL VALVE |  |  | LAB-BALANCE-LAB-INSP-365-730D
|  |  |  | FLOCCULATOR |  |  | LAB-CHILLER-LAB-INSP-365D
|  |  |  | FLAT SEAT VALVE |  |  | COLORIMETER-LAB-INSP-365D
|  |  |  | FIRE FIGHTING SYSTEM |  |  | CONDITY-METER-LAB-INSP-365D
|  |  |  | FEEDER |  |  | DEPTH-SAMPLER-LAB-INSP-730D
|  |  |  | EVAPORATOR |  |  | DISPENSETTE-LAB-INSP-365D
|  |  |  | DUST COLLECTOR |  |  | DISLD-OXY-METER-LAB-INSP-365D
|  |  |  | DRUM VALVE |  |  | DISTILLATOR-LAB-INSP-365D
|  |  |  | DOSER |  |  | LAB-HEATER-LAB-INSP-365D
|  |  |  | DIFFUSER |  |  | HYDROMETER-LAB-INSP-365D
|  |  |  | DIAPHRAGM VALVE |  |  | INCUBATOR-LAB-INSP-365D
|  |  |  | DELIVERY PRESSURE SWITCH |  |  | ICP-MS-LAB-INSP-365D
|  |  |  | DEHUMIDIFIER |  |  | ION-CHROM-LAB-INSP-365D
|  |  |  | DECANTER CENTRIFUGE |  |  | JAR-TEST-LAB-INSP-365D
|  |  |  | DAMPER |  |  | MAGNETIC-STIR-LAB-INSP-365D
|  |  |  | CRANE |  |  | MICROFILL-LAB-INSP-365D
|  |  |  | CONVEYOR |  |  | MICROPIPETTE-LAB-INSP-365D
|  |  |  | CONTROL VALVE |  |  | MULTIPARAMETER-LAB-INSP-365D
|  |  |  | CONSTANT FLOW VALVE |  |  | NESSLERISER-LAB-INSP-365D
|  |  |  | CLASSIFIER |  |  | PH-METER-LAB-INSP-91D
|  |  |  | CLARIFIER |  |  | PHOTO-SPECTRO-LAB-INSP-365D
|  |  |  | CHLORINE VALVE |  |  | SIEVE-LAB-INSP-365D
|  |  |  | CHLORINATOR |  |  | TURBIDIMETER-LAB-INSP-365D
|  |  |  | CHLORGUARD |  |  | UPS-LAB-INSP-365D
|  |  |  | CHECK VALVE |  |  | VISCOMETER-LAB-INSP-365D
|  |  |  | CHAIN BLOCK |  |  | UPWS-LAB-INSP-365D
|  |  |  | BUTTERFLY VALVE |  |  | WATERBATH-LAB-INSP-365D
|  |  |  | BULK METER |  |  | Toyota Hilux 2.4G Double Cab
|  |  |  | BIN ACTIVATOR |  |  | CABINET-MAINTENANCE-SCADA-365D
|  |  |  | BANDSCREEN |  |  | SCADA-PANEL-MAINTENANCE-180
|  |  |  | BALL VALVE |  |  | SLUICE-VALVE-A600MM-INSP-365D
|  |  |  | BALL FLOAT VALVE |  |  | AIR-COMPRESSOR-MAINT-PROD-90D
|  |  |  | BACK PRESSURE VALVE |  |  | SLUICE-VALVE-B600MM-INSP-180D
|  |  |  | ALTITUDE VALVE |  |  | BUTTERFLY-VALVE-A600-INSP-365D
|  |  |  | AIR VALVE |  |  | BUTTERFLY-VALVE-B600-INSP-180D
|  |  |  | AIR RECEIVER TANK |  |  | CRANE-PH-PERIODIC-INSPEC
|  |  |  | REFRIGERATED AIR DRYER |  |  | AIR-VALVE-PH-PERIODIC-INSPEC
|  |  |  | AIR COMPRESSOR |  |  | PANEL-PH-PERIODIC-INSPEC
|  |  |  | AIR BLOWER |  |  | GENERATOR-PH-PERIODIC-INSPEC
|  |  |  | ADVANCED PILOT VALVE |  |  | HYDRO-TANK-PH-PERIODIC-INSPEC
|  |  |  | ACTUATOR |  |  | PRESSURE-GAUGE-PH-PERIODIC-INS
|  |  |  | RIVER MONITORING SYSTEM |  |  | SURGE-RELIEF-VALVE-PH-INSPC
|  |  |  | WATERCRAFT-BOAT |  |  | SURGE-ANTICIP-VALVE-PH-INSPC
|  |  |  | MOTORCYCLES-MOTORCYCLE |  |  | ACTUATOR-MAINT-PROD-180D
|  |  |  | LIGHT VEHICLES-VAN |  |  | AIR-BLOWER-MAINT-PROD-90D
|  |  |  | LIGHT VEHICLES-SUV |  |  | AIR-COMPRESSOR-MAINT-PROD-120D
|  |  |  | LIGHT VEHICLES-SCHOOL VAN |  |  | AIR-DRY-REFRG-MAINT-PROD-90D
|  |  |  | LIGHT VEHICLES-PICKUP |  |  | EM-FLOWMETER-MAINT-PROD-180D
|  |  |  | LIGHT VEHICLES-PANEL VAN |  |  | CAPASITOR-BANK-MAINT-PROD-90D
|  |  |  | LIGHT VEHICLES-MPV |  |  | CHLORINATOR-MAINT-PROD-30D
|  |  |  | LIGHT VEHICLE-CAR |  |  | CRANE-MAINT-PROD-180D
|  |  |  | INDUSTRIAL VEHICLES-TRACTOR |  |  | DIGITAL-INDICT-MAINT-PROD-180D
|  |  |  | INDUSTRIAL VEHICLES-FORKLIFT |  |  | ELECT-PRS-TRNS-MAINT-PROD-180D
|  |  |  | INDUSTRIAL VEHICLES-COMPACTOR |  |  | EM-FLOWMETER-MAINT-PROD-365D
|  |  |  | HEAVY VEHICLES-TRAILER MACHINE |  |  | EM-FLOWMETER-MAINT-PROD-90D
|  |  |  | HEAVY VEHICLES-TRAILER JUMBO |  |  | EM-FLOWMETER-MAINT-PROD-60D
|  |  |  | HEAVY VEHICLES-TIPPER LORRY |  |  | EXHAUST-FAN-MAINT-PROD-90D
|  |  |  | HEAVY VEHICLES-TANKER LORRY |  |  | GEAR-BOX-MAINT-PROD-90D
|  |  |  | HEAVY VEHICLES-PRIME MOVER |  |  | GEAR-BOX-MAINT-PROD-180D
|  |  |  | HEAVY VEHICLES-LOADER |  |  | LEAK-DETECTOR-MAINT-PROD-30D
|  |  |  | HEAVY VEHICLES-CARGO LORRY |  |  | MIXER-MAINT-PROD-90D
|  |  |  | HEAVY VEHICLES-BUS |  |  | MIXER-MAINT-PROD-60D
|  |  |  | HEAVY VEHICLES-BACKHOE LOADER |  |  | MOTOR-SLP-RING-MAINT-PROD-180D
|  |  |  | DRONE |  |  | MOTOR-SLIP-RING-MAINT-PROD-90D
|  |  |  | BOAT ENGINE |  |  | MOTOR-SQR-CAGE-MAINT-PROD-90D
|  |  |  | REFRIGERATOR |  |  | MOTOR-SQR-CAGE-MAINT-PROD-180D
|  |  |  | CENTRAL PROCESSING UNIT MODULE |  |  | MOTOR-SQR-CAGE-MAINT-PROD-30D
MOTOR-SQR-CAGE-MAINT-PROD-120D
ONLINE-ANALYZER-MAINT-PROD-90D
ONLINE-ANALYZER-MAINT-PROD-30D
ONLINE-ANALYZ-MAINT-PROD-180D
ONLINE-ANALYZER-MAINT-PROD-60D
PANEL-ELECT-MAINT-PROD-90D
PANEL-ELECT-MAINT-PROD-30D
PROG-LOG-CNTRL-MAINT-PROD-180D
PUMP-CNTF-MLTI-MAINT-PROD-60D
PUMP-CNTF-MLTI-MAINT-PROD-120D
PUMP-CNTF-MLTI-MAINT-PROD-180D
PUMP-END-SUCT-MAINT-PROD-90D
PUMP-END-SUCT-MAINT-PROD-60D
PUMP-METERING-MAINT-PROD-90D
PUMP-METERING-MAINT-PROD-180D
PUMP-METERING-MAINT-PROD-60D
PUMP-SUBMERS-MAINT-PROD-90D
PUMP-SUBERS-MAINT-PROD-120D
RECORDER-MAINT-PROD-180D
UPS-MAINT-PROD-180D
DECANTER-MAINT-PROD-90D
EARTH-SYSTEM-MAINT-PROD-365D
LEVEL-ULTRA-MAINT-PROD-180D
CHLORINATOR-MAINT-PROD-180D
CRANE-MAINT-PROD-60D
DIFF-PRES-TRAN-MAINT-PROD-180D
MIXER-MAINT-PROD-30D
PENSTOCK-MAINT-PROD-180D
PRESSURE-GAUGE-MAINT-PROD-90D
PUMP-CNTF-MLTI-MAINT-PROD-30D
PUMP-CENT-SPLT-MAINT-PROD-30D
PUMP-END-SUCT-MAINT-PROD-30D
PUMP-METERING-MAINT-PROD-30D
UPS-MAINT-PROD-365D
AIR-COMPRESSOR-MAINT-PROD-365D
AIR-COMPRESSOR-MAINT-PROD-180D
ALTERNATOR-MAINT-PROD-180D
BANDSCREEN-MAINT-PROD-90D
BUTTERFLY-VLV-MAINT-PROD-180D
CHLORINE-VALVE-MAINT-PROD-180D
CLARIFIER-MAINT-PROD-180D
CONVEYOR-MAINT-PROD-180D
CRANE-MAINT-PROD-90D
DIGITAL-INDICT-MAINT-PROD-365D
DOSER-MAINT-PROD-180D
DUST-COLLECTOR-MAINT-PROD-90D
ELEC-LEVEL-SEN-MAINT-PROD-180D
EXHAUST-FAN-MAINT-PROD-180D
FEEDER-MAINT-PROD-90D
FIRE-FIGHTING-MAINT-PROD-180D
FIRE-FIGHTING-MAINT-PROD-90D
GATE-VALVE-MAINT-PROD-180D
GEN-SET-MAINT-PROD-30D
INVERTER-MAINT-PROD-180D
LEVEL-ELECTRD-MAINT-PROD-180D
LEVEL-ULTRA-MAINT-PROD-365D
MIXER-MAINT-PROD-180D
MOTOR-SQR-CAGE-MAINT-PROD-365D
PANEL-ELECT-MAINT-PROD-365D
PENSTOCK-MAINT-PROD-90D
PRESS-SWITCH-MAINT-PROD-180D
PRESS-SWITCH-MAINT-PROD-90D
PUMP-CNTF-MLTI-MAINT-PROD-365D
PUMP-CENT-SPLT-MAINT-PROD-180D
PUMP-PROG-CAV-MAINT-PROD-60D
RECORDER-MAINT-PROD-365D
SERVER-MAINT-PROD-90D
SLC-KNF-VLV-MAINT-PROD-90D
STROKE-CNTRL-MAINT-PROD-90D
STROKE-CNTRL-MAINT-PROD-180D
SURGE-VESSEL-MAINT-PROD-365D
TRANSFORMER-MAINT-PROD-30D
VENT-FAN-MAINT-PROD-365D
VENT-FAN-MAINT-PROD-180D
VENTILATION-FAN-MAINT-PROD-90D
WEIGHING-SCALE-MAINT-PROD-90D
WEIGHING-SCALE-MAINT-PROD-30D
WEIGHING-SCALE-MAINT-PROD-180D
CAPACITOR-BANK-MAINT-PROD-30D
CHECK-VALVE-MAINT-PROD-180D
CHLORGUARD-MAINT-PROD-180D
CHLORGUARD-MAINT-PROD-30D
CONTROL-VALVE-MAINT-PROD-180D
EJECTOR-MAINT-PROD-30D
EJECTOR-MAINT-PROD-180D
ELEC-LEVEL-SEN-MAINT-PROD-365D
ELEC-LEVEL-SEN-MAINT-PROD-30D
EVAPORATOR-MAINT-PROD-90D
FLOW-CNTL-VLV-MAINT-PROD-180D
FOOT-VALVE-MAINT-PROD-180D
GEAR-BOX-MAINT-PROD-60D
GEN-SET-MAINT-PROD-90D
HOPPER-MAINT-PROD-90D
HOPPER-MAINT-PROD-60D
LOAD-CELL-MAINT-PROD-180D
PANEL-INSTRU-MAINT-PROD-30D
PASS-HOIST-MAINT-PROD-365D
PRESSURE-SWITCH-MAINT-PROD-30D
PROG-LOG-CNTRL-MAINT-PROD-90D
PUMP-VACCUM-MAINT-PROD-90D
SCRAPPER-MAINT-PROD-90D
SCRAPPER-MAINT-PROD-180D
SILO-MAINT-PROD-90D
SLC-KNF-VLV-MAINT-PROD-180D
SOLENOID-VALVE-MAINT-PROD-180D
SURGE-VESSEL-MAINT-PROD-180D
TANK-MAINT-PROD-180D
THICKENER-MAINT-PROD-180D
TRANSFORMER-MAINT-PROD-180D
VCB-MAINT-PROD-180D
VCB-MAINT-PROD-90D
WEIGHING-SCALE-MAINT-PROD-365D
ACB-MAINT-PROD-90D
AIR-BLOWER-MAINT-PROD-180D
AIR-DRY-REFRG-MAINT-PROD-180D
AIR-VALVE-MAINT-PROD-180D
BANDSCREEN-MAINT-PROD-180D
BATTERY-CHARGER-MAINT-PROD-90D
PM-SAMPLING-STATION-MAINTENANC
PM-RAW-WATER-PROCESS
PM-RAW-WATER-INTAKE-MAINTENANC
BUTTERFLY-VALVE-MAINT-PROD-30D
CHAMBER-MAINT-PROD-90D
CHECK-VALVE-MAINT-PROD-30D
CONVEYOR-MAINT-PROD-30D
DIGITAL-INDICT-MAINT-PROD-30D
ELEC-LEVEL-SEN-MAINT-PROD-90D
GATE-VALVE-MAINT-PROD-30D
GEAR-BOX-MAINT-PROD-30D
HOPPER-MAINT-PROD-180D
LEVEL-ELECTRODE-MAINT-PROD-90D
LEVEL-ULTRA-MAINT-PROD-90D
LIGHTING-MAINT-PROD-180D
PANEL-CONTROL-MAINT-PROD-30D
PUMP-PROG-CAV-MAINT-PROD-30D
PUMP-SUBMERS-MAINT-PROD-30D
RECORDER-MAINT-PROD-90D
RESERVOIR-MAINT-PROD-90D
STATIC-SCREEN-MAINT-PROD-180D
TANK-MAINT-PROD-30D
ULTRS-PRS-TRAN-MAINT-PROD-180D
PM-RAW-WATER-SAMPLING
PM-SETTLED-WATER-SAMPLING
PM-SODA-ASH-PROCESS
PM-ALUM-PROCESS
PM-FLUORIDE-PROCESS
PM-LIME-PROCESS
PM-CHEMICAL-PROCESS
PM-TREATED-WATER-SAMPLING
PM-POWER-SUPPLY
PM-TREATED-WATER-PUMPING-S
PM-SOLID-LIQUID-SEPARATION
PM-POLYMER-(RESIDUAL)-DOSING
PM-WATER-ANALYSIS
PM-SCADA-SYSTEM
PM-RAW-WATER-PIPELINE
PM-CHEMICAL-ROOM
PM-WATER-TRANSFER
PM-SETTLED-WATER-PUMPING-S
PM-LABORATORY
PM-CONTROL-ROOM
PM-FILTERED-WATER-SAMPLING
PM-WORKSHOP
PM-CONTROL-CENTRE
PM-BOAT-HOUSE
PM-ACTIFLO-PROCESS
PM-DISSOLVED-AIR-FLOATATION
PM-BACKWASH-PROCESS
PM-DISTRAFICATION
PM-ELECTRICAL-SYSTEM
PM-RAPID-MIXING
PM-ONLINE-ANALYZER
PM-DRAW-OFF-PROCESS
PM-WASH-WATER-PROCESS
PM-DISTRIBUTION-MAIN
PM-TRUNK-MAIN
PM-DATA-PROCESS
PM-FILTRATION-PROCESS
PM-FLOCCULATION-PROCESS
PM-SEDIMENTATION-PROCESS
PM-SETTLED-WATER-PROCESS
PM-SLUDGE-TREATMENT-PROCESS
PM-TREATED-WATER-PROCESS
PM-AERATION-SYSTEM
PM-SODIUM-SILICATE-PROCESS
PM-POLY-ALUMINIUM-CHLORIDE
PM-TREATMENT-PROCESS
PM-CHEMICAL-DOSING
PM-COAGULATION-PROCESS
PM-TELEMETRY-SYSTEM
PM-OFF-RIVER-STORAGE-RESERVOIR
PM-SOLAR-SYSTEM
PM-DRAW-OF-TOWER
BUTTERFLY-VLV-MAINT-PROD-365D
GEAR-BOX-MAINT-PROD-365D
CONVEYOR-MAINT-PROD-90D
AIR-BLOWER-MAINT-PROD-30D
AIR-COMPRESSOR-MAINT-PROD-30D
AIR-REC-TANK-MAINT-PROD-180D
BACK-PRESS-VLV-MAINT-PROD-90D
BALL-VALVE-MAINT-PROD-90D
BANDSCREEN-MAINT-PROD-30D
BUTTERFLY-VALVE-MAINT-PROD-90D
CHECK-VALVE-MAINT-PROD-90D
CHLORGUARD-MAINT-PROD-90D
CRANE-MAINT-PROD-30D
DECANTER-MAINT-PROD-30D
DIFF-PRES-TRAN-MAINT-PROD-30D
DIFFUSER-MAINT-PROD-30D
EJECTOR-MAINT-PROD-90D
EM-FLOWMETER-MAINT-PROD-30D
EVAPORATOR-MAINT-PROD-30D
GATE-VALVE-MAINT-PROD-90D
LEVEL-ELECTRODE-MAINT-PROD-30D
LEVEL-ULTRA-MAINT-PROD-30D
LIGHTING-MAINT-PROD-90D
MECH-SCREEN-MAINT-PROD-30D
MECH-LEVEL-IND-MAINT-PROD-365D
PNEUMATIC-VALVE-MAINT-PROD-90D
PRESSURE-GAUGE-MAINT-PROD-30D
PUMP-DRY-PIT-MAINT-PROD-30D
RIVER-GATE-MAINT-PROD-30D
ROTAMETER-MAINT-PROD-365D
SCRUBBER-MAINT-PROD-365D
STATIC-SCREEN-MAINT-PROD-365D
KL-RESERVOIR REINFORCE CONCRET
TANK-MAINT-PROD-365D
UPS-MAINT-PROD-30D
PM-ELECTRICAL-PANEL
SE-RESERVOIR REINFORCE CONCRET
LOGGER-SPEC-KL
LOGGER-SPEC-KT
LOGGER-SPEC-HL
LOGGER-SPEC-HS
LOGGER-SPEC-PJ
LOGGER-SPEC-GB
LOGGER-SPEC-KG
LOGGER-SPEC-SP
LOGGER-SPEC-SB
TRANSIENT-MAINTENANCE
SRL-BALANCE-MAINTENANCE
SRL-COLORIMETER-MAINTENANCE
NRL-COLORIMETER-MAINTENANCE
SRL-DO METER-MAINTENANCE
NRL-DO METER-MAINTENANCE
PM-SLUDGE-BALANCING
NRL-DISTILLATOR
SRL-UPWS
NRL-LAB-CHILLER
SRL-LAB-CHILLER
NRL-FUME-CUPBOARD
SRL-FUME-CUPBOARD
NRL-WEIGHT-CALIBRATION-KIT
SRL-UV-LAMPS
NRL-ICP-MS
SRL-ICP-MS
NRL-GC-MS
SRL-GC-MS
NRL-CONDUCTIVITY-METER
SRL-CONDUCTIVITY-METER
PM-CHLORINATION-PROCESS
PM-FACILITIES-SYSTEM
PM-POLYMER-PROCESS
PM-BUILDINGS
LOGGER-SPEC-KS
AIR-VALVE-MAINT-PROD-90D
PRES-RElF-VALVE-MAINT-PROD-90D
CHAIN-BLOCK-MAINT-PROD-180D
DIFF-PRES-TRAN-MAINT-PROD-90D
STRAINER-FILTER-MAINT-PROD-90D
PUMP-HOUSE-MAINTENANCE
DMZ-MAINTENANCE
WBA-MAINTENANCE

## Sheet2
[5 empty] | Level 6 | Asset Primary Category | Asset Identity | Sub Category 1 | Sub Category 2 | Asset Or Componant | Category | Condition Rating | Warranty
Asset Owning Department | Level 1 | Level 2 | Level 3 | Level 5 | BALANCING RESERVOIR | ACTUATOR | Butterfly Valve-01 | Air Receiver Tank | Delivery | Asset | Civil | 1 - Very Good | Yes
CUSTOMER BILLING SERVICES | CUSTOMER BILLING SERVICES | Sepang | NRW-DISTRICT METERING ZONE | BALANCING RESERVOIR | BUILDINGS | ADVANCED PILOT VALVE | Butterfly Valve-02 | Delivery | Double Flange Swing | Componant | Electrical | 2 - Good | No
DISTRIBUTION | DISTRIBUTION | Kuala Lumpur | NRW-TRANSMISSION NETWORK | BUILDINGS | FACILITIES SYSTEM | AIR BLOWER | Butterfly Valve-03 | Horizontal | Electrical Installation |  | Instruments | 3 - Average
ENGINEERING SERVICES | GENERAL ADMIN | Petaling | NRW-WATER BALANCING AREA | CHEMICAL DOSING | ALUM PROCESS | AIR CIRCUIT BREAKER | Butterfly Valve-04 | Main Power Supply | End Suction |  | Lab Equipments | 4 - Poor
FLEET | PRODUCTION | Gombak | PUMP HOUSE | ELECTRICAL SYSTEM | CHLORINATION PROCESS | AIR COMPRESSOR | Butterfly Valve-05 | Manual | Multi Stage |  | Mechanical | 5 - Replace
LAND | SCADA | Hulu Langat | RESERVOIR | FILTRATION PROCESS | FLUORIDE PROCESS | AIR RECEIVER TANK | Butterfly Valve-06 | Oil Filled | Reduced Port |  | Not Applicable
NRW | WATER QUALITY | Hulu Selangor | VALVE-DISTRIBUTION MAIN | FLOCCULATION PROCESS | LIME PROCESS | AIR VALVE | Butterfly Valve-07 | Suction | Split Casing |  | Vehicles
PRODUCTION NORTHERN | FLEET | Klang | VALVE-TRUNK MAIN | RAW WATER PROCESS | SODA ASH PROCESS | ALARM SYSTEM | Butterfly Valve-08 | Vertical | Squirrel Cage |  | Water Reticulation Component
PRODUCTION SOUTHERN |  | Kuala Selangor | WATER TREATMENT PLANT | SEDIMENTATION PROCESS | POWER SUPPLY | ALTERNATOR | Chain Block-01 |  | Suction
SCADA |  | Kuala Langat | WQ-ONLINE ANALYZER | SETTLED WATER PROCESS | FILTRATION PROCESS | ALTITUDE VALVE | Check Valve-01 |  | Wafer Twin Door
WATER QUALITY |  | Sabak Bernam | WQ-RIVER MONITORING STATION | TREATED WATER PROCESS | FLOCCULATION PROCESS | AMR FLOWMETER | Check Valve-02
|  |  | WQ-SAMPLING STATION | AERATION SYSTEM | RAW WATER INTAKE SYSTEM | ANALOG INPUT MODULE | Check Valve-03
|  |  | WQ-LABORATORY SERVICES | EARTHING SYSTEM | RAW WATER PROCESS | ANALOG OUTPUT MODULE | Check Valve-04
|  |  |  | SLUDGE TREATMENT PROCESS | RAW WATER SAMPLING | AUTO TITRATOR WITH AUTO SAMPLER | Control-Panel-01
|  |  |  | SOLAR SYSTEM | SEDIMENTATION PROCESS | AUTOCLAVE | Control-Panel-02
|  |  |  | TELEMETRY SYSTEM | SETTLED WATER PROCESS | BACK PRESSURE VALVE | Control-Panel-03
|  |  |  | COAGULATION PROCESS | SETTLED WATER SAMPLING | BALANCING RESERVOIR | Control-Panel-04
|  |  |  | TREATMENT PROCESS | TREATED WATER PROCESS | BALL FLOAT VALVE | Hydropneumatic Tank-01
|  |  |  | ELECTRICAL PANEL | TREATED WATER SAMPLING | BALL VALVE | MOTOR-01
|  |  |  | WATER ANALYSIS | AERATION SYSTEM | BANDSCREEN | MOTOR-02
|  |  |  | BUILDING | POLYMER PROCESS | BATTERY CHARGER | MOTOR-03
|  |  |  | OFF RIVER STORAGE RESERVOIR | EARTHING SYSTEM | BIN ACTIVATOR | MOTOR-04
|  |  |  | DRAW OF TOWER | RAW WATER PUMPING SYSTEM | BIOLOGICAL OXYGEN DEMAND APPARATUS | Pressure Gauge-01
|  |  |  | TANGKI IMBANGAN 3MG | POLYMER (RESIDUAL) DOSING | BOAT ENGINE | Pressure Gauge-02
|  |  |  | TANGKI IMBANGAN 4MG(LAMA) | SLUDGE TREATMENT PROCESS | BUILDING | Pressure Gauge-03
|  |  |  | TANGKI IMBANGAN 4MG(NEW) | SOLID LIQUID SEPARATION | BULK METER | Pressure Gauge-04
[5 empty] | SOLAR SYSTEM | BUTTERFLY VALVE | Pressure Gauge-05
[5 empty] | TELEMETRY SYSTEM | CABINET | Pressure Gauge-06
[5 empty] | TREATED WATER PUMPING SYSTEM | CAMERA | Pressure Gauge-07
[5 empty] | SCADA SYSTEM | CAPACITOR BANK | Pressure Gauge-08
[5 empty] | RAW WATER PIPELINE | CENTRAL PROCESSING UNIT MODULE | PUMP-01
[5 empty] | CHEMICAL ROOM | CHAIN BLOCK | PUMP-02
[5 empty] | LABORATORY | CHAMBER | PUMP-03
[5 empty] | COAGULATION PROCESS | CHECK VALVE | PUMP-04
[5 empty] | DATA PROCESS | CHLORGUARD | Sluice Valve-01
[5 empty] | FILTERED WATER SAMPLING | CHLORINATOR | Sluice Valve-02
[5 empty] | SETTLED WATER PUMPING SYSTEM | CHLORINE VALVE | Sluice Valve-03
[5 empty] | WATER ANALYSIS | CLARIFIER | Sluice Valve-04
[5 empty] | BOAT HOUSE | CLASSIFIER | Surge Anticipating Valve-01
[5 empty] | CONTROL ROOM | COLORIMETER
[5 empty] | RESERVOIR | CONDUCTIVITY METER
[5 empty] | CHEMICAL PROCESS | CONSTANT FLOW VALVE
[5 empty] | WATER TRANSFER | CONTROL PANEL
[5 empty] | WORKSHOP | CONTROL VALVE
[5 empty] | POLY ALUMINIUM CHLORIDE PROCESS | CONVEYOR
[5 empty] | CONTROL CENTRE | CRANE
[5 empty] | CHEMICAL DOSING | DAM CREST
[5 empty] | ACTIFLO PROCESS | DAMPER
[5 empty] | TANGKI SEDUT SYABAS | DATA LOGGER
[5 empty] | DISSOLVED AIR FLOATATION | DECANTER
[5 empty] | BACKWASH PROCESS | DECANTER CENTRIFUGE
[5 empty] | BUILDING | DEHUMIDIFIER
[5 empty] | SODIUM ALUMINO SILICATE PROCESS | DEIONISED WATER SYSTEM
[5 empty] | ELECTRICAL SYSTEM | DELIVERY PRESSURE SWITCH
[5 empty] | WASH WATER SYSTEM | DEPTH SAMPLER
[5 empty] | TREATED WATER PIPELINE | DESICCATOR
[5 empty] | RESIDUAL EMERGENCY LAGOON | DESKTOP COMPUTER
[5 empty] | RESIDUAL THICKENED PUMPING STATION | DIAPHRAGM VALVE
[5 empty] | TREATMENT PROCESS | DIFFERENTIAL PRESSURE TRANSMITTER
[5 empty] | ACTIVATED CARBON PROCESS | DIFFUSER
[5 empty] | RAPID MIXING | DIGITAL INDICATOR
[5 empty] | SLUDGE BALANCING | DIGITAL INPUT MODULE
[5 empty] | WASH WATER RECOVERY | DIGITAL INPUT OR OUTPUT MODULE
[5 empty] | DISTRAFICATION | DIGITAL OUTPUT MODULE
[5 empty] | DRAW OFF PROCESS | DISPENSETTE
[5 empty] | ONLINE ANALYZER | DISSOLVED OXYGEN METER
[5 empty] | WASH WATER PROCESS | DISTILLATOR
DOSER
DRONE
DRUM VALVE
DUST COLLECTOR
EARTHING SYSTEM
EJECTOR
ELECTRICAL PANEL
ELECTROMAGNETIC (EM) FLOWMETER
ELECTRONIC LEVEL SENSOR
ELECTRONIC PRESSURE TRANSMITTER
EVAPORATOR
EXHAUST FAN
FEEDER
FIRE FIGHTING SYSTEM
FLAT SEAT VALVE
FLOCCULATOR
FLOW CONTROL VALVE
FOOT VALVE
FREEZER
FUME CUPBOARD
GAS CHROMATOGRAPHY-MASS SPECTROMETRY
GATE VALVE
GEAR BOX
GENERATOR SET
GLOBE VALVE
GPS EQUIPMENT
HEAT EXCHANGER
HEATING REACTOR
HEAVY VEHICLES-BACKHOE LOADER
HEAVY VEHICLES-BUS
HEAVY VEHICLES-CARGO LORRY
HEAVY VEHICLES-LOADER
HEAVY VEHICLES-PRIME MOVER
HEAVY VEHICLES-TANKER LORRY
HEAVY VEHICLES-TIPPER LORRY
HEAVY VEHICLES-TRAILER JUMBO
HEAVY VEHICLES-TRAILER MACHINE
HOPPER
HOTPLATE
HUMAN MACHINE INTERFACE-PANEL
HYDROMETER
HYDROPHONE
HYDROPNEUMATIC TANK
INCUBATOR
INDUCTIVELY COUPLE PLASMA-MASS SPECTROMETRY
INDUSTRIAL VEHICLES-COMPACTOR
INDUSTRIAL VEHICLES-FORKLIFT
INDUSTRIAL VEHICLES-TRACTOR
INJECTOR
INSERTION FLOWMETER
INSTRUMENTATION PANEL
INVERTER
ION CHROMATOGRAPHY
JAR TEST
LAB BALANCE
LABORATORY CABINET
LABORATORY CHILLER
LABORATORY HEATER
LABORATORY OVEN
LAPTOP
LEAK DETECTOR
LEVEL ELECTRODE
LIGHT VEHICLE-CAR
LIGHT VEHICLES-MPV
LIGHT VEHICLES-PANEL VAN
LIGHT VEHICLES-PICKUP
LIGHT VEHICLES-SCHOOL VAN
LIGHT VEHICLES-SUV
LIGHT VEHICLES-VAN
LIGHTING
LOAD CELL
LOW PRESSURE PILOT
MAGNETIC STIRRER
MECHANICAL FLOWMETER
MECHANICAL LEVEL INDICATOR
MECHANICAL SCREEN
MEMBRANE FILTER
MICROFILL
MICROPIPETTE
MICROSCOPE
MIXER
MODEM
MODULATION VALVE
MOISTURE ANALYZER
MOTORCYCLES-MOTORCYCLE
MOTOR-SLIP RING
MOTOR-SQUIRREL CAGE
MULTIPARAMETER
NESSLERISER
NITROGEN EVAPORATOR
OIL TRAP
ONLINE ANALYZER
PASSENGER HOIST
PENSTOCK
PH METER
PHOTOMETER AND SPECTROMETER
PNEUMATIC VALVE
POWER SUPPLY MODULE
PRESSURE CHECK UNIT
PRESSURE CONTROLLER
PRESSURE GAUGE
PRESSURE REDUCING VALVE
PRESSURE RELIEF VALVE
PRESSURE SWITCH
PROGRAMMABLE LOGIC CONTROL
PUMP HOUSE
PUMP MAGNETIC DRIVE
PUMP-CENTRIFUGAL-MULTISTAGE
PUMP-CENTRIFUGAL-SELF-PRIMING
PUMP-CENTRIFUGAL-SPLIT CASING
PUMP-DRY PIT
PUMP-END SUCTION
PUMP-METERING
PUMP-PNEUMATIC
PUMP-PRESSURE
PUMP-PROGRESSIVE CAVITY
PUMP-SUBMERSIBLE
PUMP-VACCUM
QUANTI TRAY SEALER
RECORDER
REFRIGERATED AIR DRYER
REFRIGERATOR
REMOTE TELEMETRY UNIT
RESERVOIR
RIVER GATE
RIVER MONITORING SYSTEM
ROTAMETER
SAMPLING STATION
SAND FILTER
SCADA PANEL
SCOUR VALVE
SCRAPPER
SCRUBBER
SENSOR-ONLINE ANALYZER
SERVER
SIEVE
SILO
SIPHON FILTER
SLACKER
SLUICE KNIFE VALVE
SLUICE VALVE
SOLAR CHARGE CONTROLLER
SOLAR PANEL
SOLENOID VALVE
SPRAY NOZZLE
STATIC SCREEN
STOPPER
STRAINER FILTER
STRAINER VALVE
STROKE CONTROLLER
SURGE ANTICIPATING RELIEF VALVE
SURGE ANTICIPATING VALVE
SURGE VESSEL
SURVEILLANCE CAMERA
TABLET
TACHOMETER
TANK
THERMOMETER
THICKENER
TITRATOR
TOTAL ORGANIC CARBON (TOC)
TRANSFORMER
TURBIDIMETER
ULTRA PURE WATER SYSTEM
ULTRASONIC FLOWMETER
ULTRASONIC LEVEL SENSOR
ULTRASONIC LEVEL TRANSMITTER
ULTRASONIC PRESSURE TRANSMITTER
ULTRAVIOLATE LAMPS
UNINTERRUPTIBLE POWER SUPPLY
VACUUM CIRCUIT BREAKER
VACUUM REGULATOR
VENTILATION FAN
VIBRATOR
VISCOMETER
VORTEX MIXER
WATERBATH
WATERCRAFT-BOAT
WEIGHING SCALE
WEIGHT CALIBRATION KIT